## Sheet1
EXISTING LAYERS
Name | Color | Linetype | Lineweight | Description
ALIGN_EX_CL | 221 | DASHED | Default | Existing roadway centerline alignment
ALIGN_EX_CL_TEXT | 221 | Continuous | Default | Existing roadway centerline alignment text
ALIGN_EX_STA | 30 | Continuous | Default | Existing alignment station text/label
ALIGN_ROAD_LBL | 212 | Continuous | Default | Existing road name label
EX_BDG | 32 | Continuous | Default | Existing face of building/structure
EX_BDG_HATCH | 32 | Continuous | Default | Existing face of building hatch
EX_BDG_TEXT | 32 | Continuous | Default | Existing building text/label
EX_BUS_PAD | 8 | Continuous | Default | Existing bus pad
EX_CONTROL | magenta | Continuous | Default | Existing survey control point
EX_CURB | 8 | Continuous | Default | Existing back of curb
EX_DETAIL | 8 | Continuous | Default | Existing miscellaneous detail
EX_DETAIL_TEXT | 8 | Continuous | Default | Existing miscellaneous detail text/label
EX_DIMS | 8 | Continuous | Default | Existing dimension
EX_DITCH | 8 | CENTER | Default | Existing ditch
EX_DW | 8 | Continuous | Default | Existing driveway
EX_ELEC_AG | 56 | Continuous | Default | Existing at-grade electrical utility
EX_ELEC_TEXT | 56 | Continuous | Default | Existing electrical utility text/label
EX_ELEC_UG | 56 | DIVIDE2 | Default | Existing underground electrical utility
EX_EMBANKMENT | 8 | Continuous | Default | Existing embankment
EX_EP | 8 | Continuous | Default | Existing edge of pavement
EX_FB | 104 | Continuous | Default | Existing flowerbed
EX_FENCE | 8 | FENCELINE3 | Default | Existing fence
EX_GABION | 8 | Continuous | Default | Existing gabion
EX_GAS_MAIN | 56 | DASHED | Default | Existing gas main
EX_GAS_SERV | 56 | Continuous | Default | Existing gas service
EX_GAS_TEXT | 56 | Continuous | Default | Existing gas text/label
EX_GAS_VALVE | 56 | Continuous | Default | Existing gas valve
EX_GRADE_ELEV | 32 | Continuous | Default | Existing spot elevation
EX_GRAVEL | 8 | Continuous | Default | Existing gravel material
EX_GUIDERAIL | 8 | Continuous | Default | Existing guiderail
EX_HANDRAIL | 8 | Continuous | Default | Existing handrail
EX_HYDRO | 222 | DASHDOTX2 | Default | Existing underground hydro utility
EX_LEGAL_BARS | 250 | Continuous | Default | Existing legal bar
EX_LEGAL_LOT | 215 | PHANTOM2 | Default | Existing legal lot line
EX_LEGAL_ROW | 220 | PHANTOM2 | 0.6 | Existing right-of-way line
EX_LEGAL_TEXT | 250 | Continuous | Default | Existing legal text/label
EX_MISC_TEXT | 8 | Continuous | Default | Existing miscellaneous text
EX_PMARKING_CENTRE | 8 | Continuous | Default | Existing centerline pavement marking
EX_PMARKING_CROSSWALK | 8 | Continuous | Default | Existing crosswalk pavement marking
EX_PMARKING_LANES | 8 | Continuous | Default | Existing lane pavement marking
EX_PMARKING_SBAR | 8 | Continuous | Default | Existing stop bar pavement marking
EX_PMARKING_SYMBOLS | 8 | Continuous | Default | Existing pavement marking symbols
EX_RETWALL | 8 | Continuous | Default | Existing retaining wall
EX_RETWALL_TEXT | 8 | Continuous | Default | Existing retaining wall text/label
EX_RIVER | 142 | Continuous | Default | Existing river/creek/watercourse
EX_RR | 8 | TRACKS | Default | Existing railroad track
EX_SAN_HATCH | 13 | Continuous | Default | Existing sanitary sewer hatch
EX_SAN_MAIN | 244 | Continuous | Default | Existing sanitary sewer main
EX_SAN_MH | 244 | Continuous | Default | Existing sanitary sewer maintenance hole
EX_SAN_SERV | 244 | Continuous | Default | Existing sanitary sewer service lateral
EX_SAN_TEXT | 244 | Continuous | Default | Existing sanitary sewer text/label
EX_SIGNS | 8 | Continuous | Default | Existing sign
EX_SIGNS_TEXT | 8 | Continuous | Default | Existing sign text/labels
EX_STM_CB | 108 | Continuous | Default | Existing storm catchbasin
EX_STM_HATCH | 113 | Continuous | Default | Existing storm sewer hatch
EX_STM_MAIN | 108 | DASHED2 | Default | Existing storm sewer main
EX_STM_MH | 108 | Continuous | Default | Existing storm sewer maintenance hole
EX_STM_OGS | 108 | Continuous | Default | Existing storm oil & grit separator
EX_STM_BIORETENTION | 108 | Continuous | Default | Existing Storm LID features
EX_STM_SERV | 108 | DASHED2 | Default | Existing storm sewer service lateral
EX_STM_TEXT | 108 | Continuous | Default | Existing storm sewer text/label
EX_SW | 8 | Continuous | Default | Existing sidewalk
EX_SW_STEPS | 8 | Continuous | Default | Existing sidewalk/pathway steps
EX_TB | 8 | Continuous | Default | Existing top of bank
EX_TELE_COND | 56 | DASHDOT2 | Default | Existing telecommunications conduit
EX_TELE_MH | 56 | Continuous | Default | Existing telecommunications maintenance hole
EX_TELE_TEXT | 56 | Continuous | Default | Existing telecommunications text/labels
EX_TEXT | 8 | Continuous | Default | Existing text/labels
EX_TRAF_SIGN | 8 | Continuous | Default | Existing traffic signs
EX_TRAF_TEXT | 8 | Continuous | Default | Existing traffic text/label
EX_UTIL_POLES | 56 | Continuous | Default | Existing traffic pole
EX_UTIL_POLES_TEXT | 56 | Continuous | Default | Existing utility pole text/label
EX_VEG | 104 | Continuous | Default | Existing vegetation
EX_VEG_TEXT | 104 | Continuous | Default | Existing vegetation text/label
EX_VEG_TREE | 104 | Continuous | Default | Existing tree
EX_WAT_HATCH | 151 | Continuous | Default | Existing watermain hatch
EX_WAT_HYD | 151 | Continuous | Default | Existing watermain hydrant
EX_WAT_MAIN | 151 | WATERMAIN | Default | Existing watermain
EX_WAT_MH | 151 | Continuous | Default | Existing watermain chamber
EX_WAT_OTHER | 151 | Continuous | Default | Existing miscellaneous watermain infrastructure
EX_WAT_SERV | 151 | WATERMAIN | Default | Existing watermain service
EX_WAT_TEXT | 151 | Continuous | Default | Existing watermain text/label
EX_WAT_VALVE | 151 | Continuous | Default | Existing watermain valve
PROFILE_VIEW_EX_TEXT | 221 | Continuous | Default | Existing profile view text/label
PROPOSED LAYERS
Name | Color | Linetype | Lineweight | Description
ALIGN_PR_CL | 210 | CENTER | Default | Proposed centerline alignment
ALIGN_PR_CL_No Plot | 210 | CENTER | Default | Proposed centerline alignment -no plot
ALIGN_PR_CL_TEXT | 210 | Continuous | Default | Proposed centerline alignment text/label
ALIGN_PR_CL_TRANSITION | 210 | Continuous | Default | Proposed centerline alignment transition
ALIGN_PR_CL_TRANSITION_TEXT | 210 | Continuous | Default | Proposed centerline alignment transition text/label
ALIGN_PR_CL_VERT | 210 | Continuous | Default | Proposed centerline alignment vertical
ALIGN_PR_STA | 30 | Continuous | Default | Proposed centerline alignment station label
CONST_STAGE | white | DASHED | 2 | Proposed construction staging limits
CONST_STAGE_TEXT | white | Continuous | Default | Proposed construction staging limits text/label
DRAIN_AREA_SAN | 242 | DASHED2 | 2 | Sanitary drainage area
DRAIN_AREA_SAN_TEXT | 12 | Continuous | Default | Sanitary drainage area text/label
DRAIN_AREA_STM | 90 | DASHED2 | 2 | Storm catchment area
DRAIN_AREA_STM_TEXT | 106 | Continuous | Default | Storm catchment area text/label
GEOTECH | white | Continuous | Default | Geotechnical data
GRCA_LIMIT | cyan | GRCA | 2 | GRCA Regulation Limits
GRD_MJR | 8 | Continuous | Default | Major profile grid lines
GRD_MNR | 8 | Continuous | Default | Minor profile grid lines
LIMIT_OF_CONST | cyan | Continuous | 2 | Limits of construction
LINE | magenta | Continuous | Default | Miscellaneous linework
PR_BUS_PAD | Yellow | Continuous | Default | Proposed bus pad
PR_CURB | cyan | Continuous | Default | Proposed back of curb
PR_CURB_CUT | cyan | Continuous | Default | Proposed curb cut
PR_CURB_NOTE | cyan | Continuous | Default | Proposed curb notes
PR_DIM | red | Continuous | Default | Proposed dimension
PR_DITCH | green | CENTER | 0.3 | Proposed centerline/bottom of ditch
PR_DW | yellow | Continuous | Default | Proposed driveway
PR_DW_HATCH | 54 | Continuous | Default | Proposed driveway hatch
PR_DW_HATCH_BOUNDARY | 54 | Continuous | Default | Proposed driveway hatch boundary
PR_EMBANKMENT | green | Continuous | 0.3 | Proposed top/bottom of bank
PR_EP | yellow | Continuous | Default | Proposed edge of pavement
PR_EP_SAWCUT | yellow | Continuous | Default | Proposed pavement saw-cut
PR_FENCE | yellow | FENCELINE3 | Default | Proposed fence
PR_GAS_MAIN | 226 | DASHED | Default | Proposed gas main
PR_GAS_TEXT | 226 | Continuous | Default | Proposed gas main text/label
PR_GAS_VALVE | 226 | Continuous | Default | Proposed gas valve
PR_GRADE_ELEV | yellow | Continuous | Default | Proposed spot elevation
PR_GRADES | yellow | Continuous | Default | Proposed grades
PR_PMARKING | white | Continuous | Default | Proposed pavement marking
PR_PMARKING_CENTRE | white | Continuous | Default | Proposed centerline pavement marking
PR_PMARKING_CROSSWALK | white | Continuous | Default | Proposed crosswalk pavement marking
PR_PMARKING_CROSSWALK_BIKE | 92 | Continuous | Default | Proposed crossride pavement marking
PR_PMARKING_LANES | white | Continuous | Default | Proposed lane pavement marking
PR_PMARKING_SBAR | white | Continuous | Default | Proposed stop bar pavement marking
PR_PMARKING_SYMBOLS | white | Continuous | Default | Proposed pavement marking symbols
PR_PMARKING_TEXT | yellow | Continuous | Default | Proposed pavement marking text/labels
PR_RESTORATION | yellow | RESTORATION | Default | Proposed restoration
PR_RETWALL | yellow | Continuous | Default | Proposed retaining wall
PR_RETWALL_TEXT | yellow | Continuous | Default | Proposed retaining wall text/label
PR_ROW_DIM | yellow | Continuous | Default | Proposed right-of-way dimension
PR_SAN | 12 | Continuous | Default | Proposed sanitary
PR_SAN_CASING | white | Continuous | Default | Proposed sanitary casing
PR_SAN_HATCH | 241 | Continuous | Default | Proposed sanitary sewer (pipe hatching)
PR_SAN_MAIN | 12 | Continuous | Default | Proposed sanitary sewer main
PR_SAN_MH | 12 | Continuous | Default | Proposed sanitary maintenance hole
PR_SAN_PLUG | 12 | Continuous | Default | Proposed sanitary plug
PR_SAN_SERV | 12 | Continuous | Default | Proposed sanitary sewer service lateral
PR_SAN_SPS | 12 | Continuous | Default | Proposed sanitary pumping station
PR_SAN_STUB | 12 | Continuous | Default | Proposed sanitary sewer stub
PR_SAN_TEXT | 12 | Continuous | Default | Proposed sanitary sewer text/label
PR_SED_FENCE | yellow | DIVIDE | 1 | Proposed sedement fence
PR_STM | 102 | DASHED | Default | Proposed storm sewer
PR_STM_CASING | white | Continuous | Default | Proposed storm sewer casing
PR_STM_CB | 102 | Continuous | Default | Proposed storm sewer catchbasin
PR_STM_CU | 102 | DASHED2 | Default | Proposed storm sewer culvert
PR_STM_FAC | 102 | Continuous | Default | Proposed storm sewer (FAC)
PR_STM_HATCH | 93 | Continuous | Default | Proposed storm sewer (pipe hatching)
PR_STM_HW_IN | 102 | Continuous | Default | Proposed storm sewer headwall (in)
PR_STM_HW_OUT | 102 | Continuous | Default | Proposed storm sewer headwall (out)
PR_STM_IG | 102 | DASHED2 | Default | Proposed storm sewer (IG)
PR_STM_LEAD | 102 | DASHED2 | Default | Proposed storm sewer lead
PR_STM_MAIN | 102 | DASHED2 | Default | Proposed storm sewer main
PR_STM_MH | 102 | Continuous | Default | Proposed storm sewer maintenance hole
PR_STM_OGS | 102 | Continuous | Default | Proposed storm sewer oil & grit separator
PR_STM_BIORETENTION | 102 | Continuous | Default | Proposed storm LID features
PR_STM_PLUG | 102 | Continuous | Default | Proposed storm sewer plug
PR_STM_SERV | 102 | DASHED2 | Default | Proposed storm sewer service lateral
PR_STM_STUB | 102 | DASHED2 | Default | Proposed storm sewer stub
PR_STM_TEXT | 102 | Continuous | Default | Proposed storm sewer text/label
PR_SUBGRADE | 8 | HIDDEN | Default | Proposed sub-grade
PR_SW | yellow | Continuous | Default | Proposed sidewalk
PR_SW_HATCH_200 | 253 | Continuous | Default | Proposed sidewalk hatch
PR_SW_STEPS | Yellow | Continuous | Default | Proposed sidewalk steps
PR_TELECOM_COND | 56 | DASHDOT2 | 0.3 | Proposed telecommunication conduit
PR_TELECOM_TEXT | 56 | Continuous | Default | Proposed telecommunication text/label
PR_TEXT | yellow | Continuous | Default | Proposed text/labels
PR_TRAF_SIGN | yellow | Continuous | Default | Proposed traffic sign
PR_TRAF_TEXT | yellow | Continuous | Default | Proposed traffic text/label
PR_TRUNCATED_DOME | white | Continuous | Default | Proposed truncated dome (TWSI)
PR_VEG_PROTECTION_FENCE | 10 | HIDDEN2 | Default | Proposed vegetation protection fence
PR_VEG | 100 | Continuous | Default | Proposed vegetation
PR_WAT_ANODE | 172 | Continuous | Default | Proposed watermain anode
PR_WAT_CASING | white | Continuous | Default | Proposed watermain casing
PR_WAT_CL | 150 | Continuous | Default | Proposed watermain centerline
PR_WAT_HATCH | 171 | Continuous | Default | Proposed watermain (pipe hatching)
PR_WAT_HYD | 172 | Continuous | Default | Proposed watermain hydrant
PR_WAT_MAIN | 172 | WATERMAIN | Default | Proposed watermain
PR_WAT_MH | 172 | Continuous | Default | Proposed watermain chamber
PR_WAT_OTHER | 172 | Continuous | Default | Proposed other watermain infrastructure
PR_WAT_RAW_TEXT | 172 | Continuous | Default | Proposed raw watermain text/labels
PR_WAT_SERV | 172 | WATERMAIN | Default | Proposed watermain service laterals
PR_WAT_TEXT | 172 | Continuous | Default | Proposed watermain text/labels
PR_WAT_TIES | white | Continuous | Default | Proposed watermain swing-ties
PR_WAT_VALVE | 172 | Continuous | Default | Proposed watermain valve
PR_WAT_VALVE_MAIN | 172 | Continuous | Default | Proposed watermain mainline valves
PR_WAT_VALVE_SERV | 172 | Continuous | Default | Proposed watermain curb-stops/service valves
PROFILE_VIEW | white | Continuous | Default | Profile view
PROFILE_VIEW_BAND | white | Continuous | Default | Profile view band
PROFILE_VIEW_PR_TEXT | white | Continuous | Default | Profile view proposed text/labels
PROFILE_VIEW_TEXT | white | Continuous | Default | Profile view text/labels
PROJECT LIMITS | 114 | Continuous | Default | Proposed project limits
REMOVALS LAYERS
Name | Color | Linetype | Lineweight | Description
REM_ASP_ROAD | 253 | Continuous | Default | Existing asphalt road for removal
REM_CONC_ROAD | 253 | Continuous | Default | Existing concrete road for removal
REM_CURB | 253 | Continuous | Default | Existing curb for removal
REM_DETAIL | 250 | Continuous | Default | Existing removal detail
REM_DETAIL_TEXT | 250 | Continuous | Default | Existing removal detail text/label
REM_DW | 253 | Continuous | Default | Existing driveway for removal
REM_EP | 253 | Continuous | Default | Existing edge of pavement for removal
REM_FENCE | 253 | FENCELINE3 | Default | Existing fence for removal
REM_GAS_MAIN | 253 | DASHED | Default | Existing gas main for removal
REM_GAS_TEXT | 253 | Continuous | Default | Existing gas main text/label for removal
REM_GRADE_ELEV | 32 | Continuous | Default | Existing spot elevation for removal
REM_LEGAL_FAB | 253 | PHANTOM2 | Default | Existing legal fabric for removal
REM_LEGAL_TEXT | 253 | Continuous | Default | Existing legal fabric text/label for removal
REM_PIPE | white | REMOVALS | Default | Existing pipe/sewer for removal
REM_PMARKING_CENTRE | white | Continuous | Default | Existing centerline pavement marking for removal
REM_PMARKING_CROSSWALK | white | Continuous | Default | Existing crosswalk pavement marking for removal
REM_PMARKING_LANES | white | Continuous | Default | Existing lane pavement marking for removal
REM_PMARKING_SBAR | white | Continuous | Default | Existing stop bar pavement marking for removal
REM_PMARKING_SYMBOLS | white | Continuous | Default | Existing pavement marking symbols for removal
REM_RETWALL | 253 | Continuous | Default | Existing retaining wall for removal
REM_RETWALL_TEXT | 253 | Continuous | Default | Existing retaining wall text/label for removal
REM_SAN_HATCH | 13 | Continuous | Default | Existing sanitary hatch for removal
REM_SAN_MAIN | 244 | Continuous | Default | Existing sanitary sewer main for removal
REM_SAN_MH | 244 | Continuous | Default | Existing sanitary maintenance hole for removal
REM_SAN_SERV | 244 | Continuous | Default | Existing sanitary sewer service lateral for removal
REM_SAN_TEXT | 244 | Continuous | Default | Existing sanitary sewer text/label for removal
REM_SAN_TEXT-2 | 244 | Continuous | Default | Existing sanitary sewer text/label alt. for removal
REM_SOILS | 8 | Continuous | Default | Existing soils for removal
REM_STM_CB | 108 | Continuous | Default | Existing storm catchbasin for removal
REM_STM_HATCH | 113 | Continuous | Default | Existing storm sewer hatch for removal
REM_STM_MAIN | 108 | DASHED2 | Default | Existing storm sewer main for removal
REM_STM_MH | 108 | Continuous | Default | Existing storm sewer maintenance hole for removal
REM_STM_SERV | 108 | DASHED2 | Default | Existing storm sewer service lateral for removal
REM_STM_TEXT | 108 | Continuous | Default | Existing storm sewer text/label for removal
REM_STM_TEXT-2 | 108 | Continuous | Default | Existing storm sewer text/label alt.2 for removal
REM_STM_TEXT-3 | 108 | Continuous | Default | Existing storm sewer text/label alt.3 for removal
REM_STRUCTURE | white | Continuous | Default | Existing miscellaneous structure for removal
REM_SW | 253 | Continuous | Default | Existing sidewalk for removal
REM_SYMBOL | white | Continuous | Default | Existing removal symbology
REM_TEXT | yellow | Continuous | Default | Existing removals text
REM_TRAF_SIGN | 253 | Continuous | Default | Existing traffic sign for removal
REM_TRAF_TEXT | 253 | Continuous | Default | Existing traffic sign text/label for removal
REM_TREE | 253 | Continuous | Default | Existing tree for removal
REM_UTIL_POLES | 253 | Continuous | Default | Existing utility pole for removal
REM_UTIL_POLES_TEXT | 253 | Continuous | Default | Existing utility pole text/label for removal
REM_VEG | 253 | Continuous | Default | Existing vegetation for removal
REM_VEG_TEXT | 253 | Continuous | Default | Existing vegetation text/label for removal
REM_WAT_HATCH | 151 | Continuous | Default | Existing watermain hatch for removal
REM_WAT_HYD | 151 | Continuous | Default | Existing watermain hydrant for removal
REM_WAT_MAIN | 151 | WATERMAIN | Default | Existing watermain for removal
REM_WAT_MH | 151 | Continuous | Default | Existing watermain chamber for removal
REM_WAT_OTHER | 151 | Continuous | Default | Existing other miscellaneous watermain for removal
REM_WAT_SERV | 151 | WATERMAIN | Default | Existing watermain service for removal
REM_WAT_TEXT | 151 | Continuous | Default | Existing watermain text/label for removal
REM_WAT_VALVE | 151 | Continuous | Default | Existing watermain valve for removal